## MS4 Permits
Phase I, WW Phase II, and EWA PH II Formal Draft Comments
Response # | Document | Section | Page | Comment
24 | WWA Phase II | Mapping and Documentation (WWA) | 23 | Clarification needed. Are we meant to map downspout control, etc.?
25 | WWA Phase II | Mapping and Documentation (WWA) | 23 | Map outside drainage boundary? Need clear language as to what is required here.
27 | WWA Phase II | IDDE | 28 | Permit should allow for time to get WQWebIDDE format set up for reporting.
28 | WWA Phase II | Controlling Runoff (WWA) | 29 | King County has until December 31, 2020 to complete their adoption/implementation of new standards. This gives Phase II Permittees a year to adopt the King County manual to meet this requirement. However, Phase I Permit language allows for some flexibility on this deadline based on possible delays in the review by Ecology. If this occurs this would set us back and we do not have the flexibility written into our permit language. We should be given the allowance of one full year after King Co. gets the go ahead from Ecology and adopts their new manual updates.
29 | WWA Phase II | Source Control Program (WWA) | 37 | "Structural source control BMPs, or treatment BMPs/facilities, or both, must be required for pollutant generating sources if operational source control BMPs do not prevent illicit discharges or violations of surface water, groundwater, or sediment management standards because of inadequate stormwater controls." This requirement may have a significant financial impact on property owners who developed their property prior to when water quality treatment standards went into effect. This requirement should be removed from the language in these sections and be replaced with educational program that incentivizes structural retrofits on these existing non-conforming sites. If Ecology keeps this structural retrofitting language, they need to provide the legal basis Permittees can use to justify implementation of this retrofitting requirement.
30 | WWA Phase II | Source Control Program (WWA) | 38 | Language should be added to this section identifying that Permittees may count denial of access to properties towards the 20% annual inspection performance standard. Permittees have no control over whether or not a property owner will allow access to private property and Permittees should not be penalized for it.
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150

## Instructions
To Use This Spreadsheet:
N/A
This spreadsheet is the preferred method for providing comment to Ecology on the Draft 2019 Municipal Stormwater Permits. | General | Phase I
| Permit Coverage Area and Permittees | WWA Phase II
For each comment you have, fill out a separate row in the spreadsheet. Enter the document (from the drop down menu), section (from the drop down menu), and page number information, then type your comment in the cell under the "Comment" header. If your comment is on a non-Permit document, select 'N/A' under the 'section' header. | Authorized Dishcharges | EWA Phase II
| Responsibilities of Permittees | Both WWA
To Return This Spreadsheet To Ecology: | Compliance with Standards | All Three Permits
| Legal Authority (PH I) | SSC Guidance
The perferred method of returning comments to Ecology is by submitting the .xlsx file to: | Coordination | SMAP Guidance
http://ws.ecology.commentinput.com/?id=JWY6h | Comprehensive Stomwater Planning (WWA) | SWMP Effectiveness Study QAPP
| Education and Outreach | Status and Trends for Lower Columbia QAPP
You may also submit the spreadsheet by mail, sending it to: | Public Involvement and Participation | EWA Operational BMP QAPP
| Mapping and Documentation (WWA) | EWA Operational BMP QAPP
Abbey Stockwell | IDDE | EWA Structural QAPP
WA Department of Ecology | Controlling Runoff (WWA) | EWA Education and Outreach QAPP
Water Quality Program | Construction Site Stormwater Runoff Control (EWA)
PO Box 47696 | Post-Construction Stormwater Management (E.WA)
Olympia, WA 98504-7696 | Operations and Maintenance
Source Control Program (WWA)
To Get Help With Comments: | Structural Stormwater Controls (PH I)
Monitoring and Assesment
Phase II Permits | Reporting Requirements
Abbey Stockwell | Compliance with TMDL requirements
abbey.stockwell@ecy.wa.gov | General Conditions
360-407-7221 | Appendix 1
Appendix 2
Phase I Permit | Appendix 3
Emma Trewhitt | Appendix 4
emma.trewhitt@ecy.wa.gov | Appendix 5
360-407-7468 | Appendix 6
Appendix 7
Appendix 8
Appendix 9
Appendix 10
Appendix 11
Appendix 12
Appendix 13 (WWA)
Appendix 14 (PH I)

## Lists (hidden)
Permits
Phase I
WWA Phase II
Both
SWMMWW Volumes
I
II
III
IV
V