## MS4 Permits
Phase I, WW Phase II, and EWA PH II Formal Draft Comments
Response # | Document | Section | Page | Comment
24 | WWA Phase II | Appendix 2 | 22 of 40 | Under the 'City of Puyallup' Section the first and third bullet points are almost the same (except for one word) and one of the bullets should be removed.
25 | WWA Phase II | Appendix 2 | 26 of 40 | Since the numbers provided are estimates and approximations, the City believes this should be reflected in the language. For example under 'City of Puyallup, bullet 1 'The Permitee shall construct and implement water quality improvement projects (WQIPs) that are estimated to achieve a combined average annual sediment reduction of 155 ons per year by the end of 2012. This represents approximately 94% of the 20 year TMDL implementation target.
26 | WWA Phase II | Appendix 2 | 27 of 40 | We believe bullet 2 should read 'The Permittee shall construct and implement WQIPs that remove or treat 21.5 MG….'
27 | WWA Phase II | Appendix 2 | 27 of 40 | Regarding Bullet 6. It is our position that any facility that has been monitored to determine actual removal or treatment rates should be able to use that study/monitoring data as a basis for the function and credit for that structure. There are many instances were the WWSM's prescriptive treatment flow rates for the mechanical facilities may not agree with removal rates based on field conditions/water quality inputs. We do believe that if the facilities are not working as planned/designed they should be upgraded to ensure the intended removal rates. However, the facility removal rate should be able to be counted as indicated by monitoring while the additional treatment retrofits/upgrades are being designed and implemented, as long as there is adequate moitoring data to back up the partial removal efficiency. There are cases where we soound Engineering could dictate using partial treatment from one device that may be underperforming and install a second device to bridge the gap to the required basic or enhanced treatment levels. If you do not have on the ground data for the facility, it makes sense to us to use the designated treatment flow rates, but if actual data has been obtained in the installed location, that should always utilized.
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150

## Instructions
To Use This Spreadsheet:
N/A
This spreadsheet is the preferred method for providing comment to Ecology on the Draft 2019 Municipal Stormwater Permits. | General | Phase I
| Permit Coverage Area and Permittees | WWA Phase II
For each comment you have, fill out a separate row in the spreadsheet. Enter the document (from the drop down menu), section (from the drop down menu), and page number information, then type your comment in the cell under the "Comment" header. If your comment is on a non-Permit document, select 'N/A' under the 'section' header. | Authorized Dishcharges | EWA Phase II
| Responsibilities of Permittees | Both WWA
To Return This Spreadsheet To Ecology: | Compliance with Standards | All Three Permits
| Legal Authority (PH I) | SSC Guidance
The perferred method of returning comments to Ecology is by submitting the .xlsx file to: | Coordination | SMAP Guidance
http://ws.ecology.commentinput.com/?id=JWY6h | Comprehensive Stomwater Planning (WWA) | SWMP Effectiveness Study QAPP
| Education and Outreach | Status and Trends for Lower Columbia QAPP
You may also submit the spreadsheet by mail, sending it to: | Public Involvement and Participation | EWA Operational BMP QAPP
| Mapping and Documentation (WWA) | EWA Operational BMP QAPP
Abbey Stockwell | IDDE | EWA Structural QAPP
WA Department of Ecology | Controlling Runoff (WWA) | EWA Education and Outreach QAPP
Water Quality Program | Construction Site Stormwater Runoff Control (EWA)
PO Box 47696 | Post-Construction Stormwater Management (E.WA)
Olympia, WA 98504-7696 | Operations and Maintenance
Source Control Program (WWA)
To Get Help With Comments: | Structural Stormwater Controls (PH I)
Monitoring and Assesment
Phase II Permits | Reporting Requirements
Abbey Stockwell | Compliance with TMDL requirements
abbey.stockwell@ecy.wa.gov | General Conditions
360-407-7221 | Appendix 1
Appendix 2
Phase I Permit | Appendix 3
Emma Trewhitt | Appendix 4
emma.trewhitt@ecy.wa.gov | Appendix 5
360-407-7468 | Appendix 6
Appendix 7
Appendix 8
Appendix 9
Appendix 10
Appendix 11
Appendix 12
Appendix 13 (WWA)
Appendix 14 (PH I)

## Lists (hidden)
Permits
Phase I
WWA Phase II
Both
SWMMWW Volumes
I
II
III
IV
V