## Topics (for dropdown) (hidden)
Phase I MS4 Permit | Phase II MS4 Permit - WWA | Phase II MS4 Permit - EWA | SWMMWW | SWMMEW
Fact Sheet | Fact Sheet | Fact Sheet | General | General
S1-4 | S1-4 | S1-4 | Volume I | Chapter 1
Stormwater Planning | Stormwater Planning | Education & Outreach | Volume II | Chapter 2
Education & Outreach | Education & Outreach | Public Involvement | Volume III | Chapter 3
Public Involvement | Public Involvement | Mapping | Volume IV | Chapter 4
Mapping | Mapping | IDDE | Volume V | Chapter 5
IDDE | IDDE | O&M | Glossary | Chapter 6
O&M | O&M | Controlling Runoff |  | Chapter 7
Controlling Runoff | Controlling Runoff | S6-9 |  | Chapter 8
Source Control for Existing Development | Source Control for Existing Development | Definitions |  | Glossary
Stormwater Management for Existing Development | Stormwater Management for Existing Development | Appendices
S6-9 | S6-9 | Other
Definitions | Definitions
Appendices | Appendices
Other | Other

## Comments
Formal Comments on the DRAFT Municipal Stormwater Permits (Phase I, Eastern and Western Phase II) and Stormwater Management Manuals (Eastern and Western)
August 16 - November 10 , 2023
Comment Categories For each row/comment, select the category from the drop downs below that the comment applies to. Please only select one category per comment. (e.g. for a comment on bioretention design guidance in Eastern Washington, you would select "Chapter 6" from the "SWMMEW" Column, and the other columns would be left blank for that row).
Phase I MS4 Permit | Phase II MS4 Permit - WWA | Phase II MS4 Permit - EWA | SWMMWW | SWMMEW | Comment | Comment Made By
|  |  | General |  | Does it make sense to include arid references in the Glossary and BMP descriptions in the SWMMWW? I believe that this language was originally intended for the SWMMEW only. | Rebecca Dugopolski, Herrera
|  |  | General |  | Does it make sense to include semiarid references in the Glossary and BMP descriptions in the SWMMWW? Semiarid is defined as 10 to 20 inches of annual precipitation in the Glossary. Sequim, Port Townsend, and Coupeville receive around 18-20 inches of annual precipitation, so they are technically semiarid, but are on the upper end of that range. I believe that this language was originally intended for the SWMMEW only. | Rebecca Dugopolski, Herrera
| Appendices |  | Volume I |  | In the Flowchart for Determining Requirements for Redevelopment in the Permit and the Manual, can you update the bottom box to say "Minimum Requirements #6 through #9 also apply to the new and replaced hard surfaces and converted vegetation areas"? MR #1-5 are addressed earlier in the flowchart and apply to new and replaced hard surfaces and land disturbed, rather than converted vegetation areas, so it is a bit confusing to list "All Minimum Requirements" in the bottom box. If this change is made, there is another box in the middle of the flowchart that would also need to be updated to "Minimum Requirements #6 through #9 also apply to the new hard surfaces and converted vegetation areas." | Rebecca Dugopolski, Herrera
|  |  | Volume V |  | Appendix V-A is missing maintenance standards for dispersion BMPs which may be helpful to add. Maintenance standards for downspout, sheet flow, and concentrated dispersion systems were included in the Western WA LID O&M Guidance Document (2013). | Rebecca Dugopolski, Herrera
|  |  | Volume V |  | Appendix V-A is missing maintenance standards for downspout full infiltration systems which may be helpful to add. Maintenance standards for downspout full infiltration systems were included in the Western WA LID O&M Guidance Document (2013). The existing Table V-A.2 is focused on Infiltration Ponds, not smaller infiltration systems. | Rebecca Dugopolski, Herrera
|  |  | Volume V |  | Appendix V-A is missing maintenance standards for post-construction soil quality and depth which may be helpful to add. Maintenance standards for this BMP were included in the Western WA LID O&M Guidance Document (2013). | Rebecca Dugopolski, Herrera
|  |  | Volume V |  | Appendix V-A is missing maintenance standards for tree retention and tree planting which may be helpful to add. Maintenance standards for this BMP were not included in the Western WA LID O&M Guidance Document (2013), but Ecology could use the 2021 Seattle Stormwater Manual as a reference. | Rebecca Dugopolski, Herrera
|  |  | Volume V |  | Appendix V-A is missing maintenance standards for reverse slope sidewalk which may be helpful to add. Maintenance standards for this BMP were not included in the Western WA LID O&M Guidance Document (2013) or the King County Surface Water Design Manual. | Rebecca Dugopolski, Herrera
|  |  | Volume V |  | Appendix V-A is missing maintenance standards for minimal excavation foundations which may be helpful to add. Maintenance standards for this BMP were not included in the Western WA LID O&M Guidance Document (2013) or the King County Surface Water Design Manual. | Rebecca Dugopolski, Herrera
|  |  | Volume V |  | Table V-5.7 in BMP T7.50: Drywells contains detailed O&M criteria that may fit better in Appendix V-A. | Rebecca Dugopolski, Herrera
|  |  | Volume V |  | Are Evaporation Ponds (BMP F6.30) applicable to Western Washington? The BMP as currently written contains several references to Spokane County/Spokane Area including Figure V-6.1. The sizing approach included with this BMP is also very Eastern WA focused. I would recommend removing this BMP from the SWMMWW. | Rebecca Dugopolski, Herrera
Appendices | Appendices |  | Volume I |  | The Common Plan of Development or Sale term was removed from the 2019 SWMMWW, but was added back into the draft 2024 SWMMWW and Appendix 1 of the draft 2024-2029 WWA permits. The RTC on the 2019 SWMMWW stated that "The term Common Plan of Development or Sale applies to the Construction Permit and is no longer used for determining the Municipal Stormwater Permit minimum requirement thresholds in the western Washington Municipal Stormwater Permits (the phrase is still used in the Eastern Washington Permit for determining thresholds). The western WA Municipal Stormwater Permit removed the term during the 2013 permit cycle, when the minimum requirement thresholds were reduced." Should this term be removed from the SWMMWW and Appendix 1 of the WWA permits per the previous response from Ecology? Also, please note that this term was added back into the SWMMWW Glossary, but not to the definitions in Appendix 1 of the WWA permits. | Rebecca Dugopolski, Herrera
|  |  | Volume V | Chapter 6 | I would recommend removing or updating Figure V-12.4 (Sand-Based Structural Soil Section) in BMP T5.16: Tree Retention and Tree Planting in the SWMMWW (and the associated Figure 6.93 in the SWMMEW). The wrapped tree roots and lack of vegetation on the upper portion of the tree is not a helpful depiction of a healthy tree or how a tree should be successfully planted. | Rebecca Dugopolski, Herrera

## Instructions
Using this Template
To Use This Spreadsheet:
This spreadsheet is the preferred method for providing comments to Ecology on the DRAFT Municipal Stormwater Permits (Phase I, Eastern and Western Phase II) and Stormwater Management Manuals (Eastern and Western).
For each comment you have, fill out a separate row in the spreadsheet. Enter the permit/SWMM category (from the drop down menu), then type your comment in the cell under the "Comment" header. The last column ("Comment Made By") is optional, but will assist Ecology if follow up on your comment is needed.
To Return This Spreadsheet To Ecology:
The preferred method of returning comments to Ecology is by submitting the .xlsx file to:
https://wq.ecology.commentinput.com/?id=C57pYMegb