	2026 DRAFT HRM REVIEW FORM

	No.
	Section/Appendix Number
	Page Number
	Comment

	1
	2-1.2.1
	2-3
	Delete redundant bullets for "TMDL" and "CWA Section 303(d)-listed impaired waters" as they are both covered in a previous bullet.

	2
	2-4.2
	2-13
	Recommend editing sentence to introduce new terminology being used in Ecology's Water Quality Atlas. Current sentence, "TMDLs and alternative plans are Ecology watershed cleanup plans that cover a watershed boundary, not just water body segments like a 303(d) listing." New sentence proposed sentence, "Approved water quality improvement projects, such as TMDLs and alternative plans, cover a watershed boundary, not just water body segments like a 303(d) listing."

	3
	2-4.2
	2-13
	This sentence seems to be referencing the old format, which has been replaced with the Impaired Waters Table in Appendix 5A. Propose editing this sentence to reflect new format, "The first page of each BMP section in Chapter 5 includes TMDL/303(d) considerations to aid in BMP selection when discharging to an impaired water body."

	4
	5A
	5A-1
	"X = Prohibited" was added to the Table legend but not to the Table where appropriate based on the language prohibiting the use of compost in phosphorus sensitive areas added in 5-3.5 on pages 5-15 and 5-16. 

	5
	5A
	5A-1
	Change “Fecal Coliform” to “Bacteria (Fecal Coliform/E. coli)”.

	6
	5A
	5A-1
	Add “Fine Sediment” to “Total Suspended Solids/Turbidity”.

	7
	5A
	5A-1
	Change “Phosphorus” to “Total Phosphorus or Phosphorus-Sensitive”. 

	8
	5A
	5A-1
	Propose deleting "Dissolved Oxygen" to prevent confusion with more detailed guidance added in 5-3.5 about impairments and compost use.

	9
	
	
	Propose adding some language below or before the Table, perhaps using an asterisk or footnote to connect specific pollutants (Bacteria (Fecal Coliform/E. coli and Total Phosphorus or Phosphorus-Sensitive) to the language. Proposed language, "Approved water quality improvement projects (Category 4a and 4b), such as TMDLs, may have titles that obscure the specific pollutant(s) of concern. For example, some Category 4 project titles use generalized terms like:
• Multiparameter – pollutants of concern not specified.
• Nutrient(s) – may be used instead of specifying phosphorus, nitrogen, etc.
• Bacteria – may be used instead of specifying fecal coliform or E. coli. 
Other Category 4 project titles may have titles that represent a more complex water quality issue that must be understood before BMPs can be selected. For example, the following water quality impairments are often identified as “phosphorus-sensitive”:
• Dissolved Oxygen (DO) - can result from compounding impairments (e.g., temperature, nutrients, and sediment). 
• Harmful Algae Blooms (HABs) – can result from compounding impairments (e.g., temperature and nutrients). 
Therefore, it may be necessary to review the Category 4 project documents to identify the specific pollutant(s) of concern prior to selecting appropriate BMPs. Contact the HQ Stormwater Branch, Statewide TMDL Lead for support.
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