## Sheet1
FirstName | LastName | Email | Address01 | City | State | Zip | SubmitDate | CommentValue
Sean | Hawes | sean.hawes@clark.wa.gov | PO Box 9825 | Vancouver | WA | 98666-8825 | 2026-07-02 | Page 26 & 46 Onsite sewage systems are emphasized as the source of human-based baterial pollution. Page 84 reflects other sources of human-based bacterial pollution. Please clarify consistent references to encompass all potential human wastewater infrastructure as non-point sources in the Burnt Bridge Creek watershed.
Sean | Hawes | sean.hawes@clark.wa.gov | PO Box 9825 | Vancouver | WA | 98666-8825 | 2026-07-02 | page 58 Plan states: "Fix and/or replace 100 percent of the noncompliant septic systems in the watershed by 2041 through septic system inspections, maintenance, and connection to public sewer" How is this measured? How is an OSS fixed and/or replaced through an inspection? Clarify language to distinguish what the goal rate is between inspection compliance and maintenance/repairs/failure compliance. CCPH recommends a 90% inspection compliance rate for properties within 200' of the creek and 85% for the full watershed.
Sean | Hawes | sean.hawes@clark.wa.gov | PO Box 9825 | Vancouver | WA | 98666-8825 | 2026-07-02 | Page 79 & 81 Plan states: "Achieve 100 percent septic system inspection and maintenance compliance and correct or replace any failing septic systems" Clearly distinguish a goal between inspection compliance and maintenance/repairs/replacement compliance. CCPH recommends a 90% inspection compliance rate for properties within 200' of the creek and 85% for the full watershed.
Sean | Hawes | sean.hawes@clark.wa.gov | PO Box 9825 | Vancouver | WA | 98666-8825 | 2026-07-02 | Page 60 & 83 reference CCPH as a partner to promote connection to public sewer. The OSS program at CCPH does not routinely encourage conversion to public sewer but focuses on technical assistance and financial aid to support property owners in the appropriate operation and maintenance of their onsite sewer. Mandated connection to sewer is limited to failure of an OSS and replacement can be conditionally permitted by CCPH. Our authority is limited under Clark County Code 24.17.080, provided here for your reference.
Sean | Hawes | sean.hawes@clark.wa.gov | PO Box 9825 | Vancouver | WA | 98666-8825 | 2026-07-02 | Page 87 & 88 Plan indicates CCPH will perform water quality sampling and report to ECY and EPA. CCPH does not perform any surface water sampling. Clarify if City of Vancouver or others will provide this sampling and reporting activity.